## Info
This spreadsheet includes the classes (see individual tabs) and properties (listed per class in each tab) of the v2 Health-RI core metadata schema, as also described on Github (click this box to be directed here).
You can view a simplified overview of the classes and the relations between them to the right. Below that you find the UML diagram of the model, which displays all classes and their respective properties.
As visible in the UML diagram to the right, there are a number of main classes (top; red and yellow tabs in this spreadsheet) and supporting classes (bottom; blue tabs in this spreadsheet). In the UML, each class is depicted by a box. The mandatory properties of each class are listed at the top, below that the recommended properties. Properties marked in blue are introduces in the v2 model based on HealthDCAT-AP.
While mapping your metadata to this schema, it is possible that you will not (have to) make use of all main classes. You may for example only use the dcat:Catalog and dcat:Dataset (and since they both use Kind and Agent, those will be needed as well).
Please see also Github for further information (click this box to be directed here).
What do you see for each class and properties?
- Each tab represents the mandatory and recommended properties of the class.
- For each property, the label, definitions, property URI and usage note is stated.
- If applicable, the controlled vocabulary to be used in the class is stated.
- The requirement level (mandatory / recommended) and cardinality (how often the property must and may be filled) and range (how the property should be filled) are stated for each property.
- Whenever a property points to another class, the range of that class is marked in orange (for example: publisher uses the foaf:Agent class)
If this is the case, go to the respective tab of that class and fille the properties of that class
If you need to use that class multiple times (multiple instances), add extra columns per instance of that class you need
- The history of the property (same as in v1 of the Health-RI schema, adjusted or new) as well as source of constraint (DCAT-AP / DCAT-AP NL / HealthDCAT-AP) are stated.
- Next to that, there is room for your values / metadata (green column).

## User Guide
Quick guide on how to use this document for your Metadata Mapping (see also general information below in green or mapping tutorial in yellow):
- The tabs indicated in red below are the mandatory classes (Catalog, Dataset, Agent and Kind). You will always have to provide metadata for these classes for onboarding.
- You might use one or more of the remaining classes (indicated in orange and blue tabs in this file), depending on the context and structure of your data. Again, it is possible that not all classes are required to describe your data. For more information, see recommendations page linked below in blue. - On the tab of each class, you can filter on "mandatory" in the "Requirement level" column to view only mandatory properties.
- Enter the values for your resource.
- Whenever a property points to another class, the range of that class is marked in orange (for example: publisher uses the foaf:Agent class)
If this is the case, go to the respective tab of that class and fille the properties of that class
If you need to use that class multiple times (multiple instances), add extra columns per instance of that class you need This is the case if you want to describe multiple datasets
This is also the case for foaf:Agent which is used by dct:publisher and dct:creator in several classes, so it could be you need to describe separate Agents for different purposes (for example if the publisher of your catalogue is differernt from the publisher of your dataset, or if you would like to add all members of a consortium as separate creators)
- Remove the "requirement level" filter and check whether you have additional information to add for the recommended properties ⚠ ️It is important to realise that the more complete your metadata is, the better findable and reusable your resource becomes. Filing in recommended classes and fields is therefore recommended - Repeat the process for all mandatory classes.
- If you need the same class multiple times (to describe multiple datasets, or to describe the Agent class for the publisher of your dataset and the publisher of your catalogue), add new columns for the values of each instance of the required class.
- Continue with other classes you want to use to describe your resource.
Metadata mapping - General Information (click here)
Metadata mapping - Step-by-step tutorial (click here)
Recommendations for mapping to classes (click here)

## prefixes
prefix | namespace
linkml | https://w3id.org/linkml/
dcat | https://www.w3.org/ns/dcat#
dct | http://purl.org/dc/terms/
xsd | http://www.w3.org/2001/XMLSchema#
adms | http://www.w3.org/ns/adms#
adms_status | http://purl.org/adms/status/
odrl2 | http://www.w3.org/ns/odrl/2/
prov | http://www.w3.org/ns/prov#
dcatv3 | https://www.w3.org/ns/dcat/3#
vcard | http://www.w3.org/2006/vcard/ns#
foaf | http://xmlns.com/foaf/0.1/
dash | http://datashapes.org/dash#
spdx | http://spdx.org/rdf/terms#
owl | http://www.w3.org/2002/07/owl#
disco | http://rdf-vocabulary.ddialliance.org/discovery#
xsd | http://www.w3.org/2001/XMLSchema#
skosthes | http://purl.org/iso25964/skos-thes#
skos | http://www.w3.org/2004/02/skos/core#
rdfs | http://www.w3.org/2000/01/rdf-schema#
qb | http://purl.org/linked-data/cube#
healthdcatap | http://healthdataportal.eu/ns/health#
doap | http://usefulinc.com/ns/doap#
sh | http://www.w3.org/ns/shacl#
euvoc | http://publications.europa.eu/ontology/euvoc#
hri | http://data.health-ri.nl/core/p2#
dcatap | http://data.europa.eu/r5r/
org | http://www.w3.org/ns/org#
skosxl | http://www.w3.org/2008/05/skos-xl#
rdf | http://www.w3.org/1999/02/22-rdf-syntax-ns#
dc | http://purl.org/dc/elements/1.1/
dqv | http://www.w3.org/ns/dqv#
dpv | https://w3id.org/dpv#
dqv-pd | https://w3id.org/dpv/dpv-pd#
rdfs | http://www.w3.org/2000/01/rdf-schema#
eu | http://publications.europa.eu/resource/authority/access-right/
oa | http://www.w3.org/ns/oa#
status | http://publications.europa.eu/resource/authority/distribution-status/
sio | http://semanticscience.org/resource/
schema | http://schema.org/
eucaim | https://cancerimage.eu/ontology/EUCAIM#

## classes
sheet_name | class_URI | description | SHACL_target_ontology_name | SeMPyRO_inherits_from | SeMPyRO_import_classes | SeMPyRO_annotations_ontology | SeMPyRO_annotations_IRI
Imaging Dataset | hri:ImagingDataset | An extension of dcat:Dataset with imaging specific properties. | dcat:Dataset | hri:Dataset |  |  | DCAT.Dataset
ImagingSessionProtocol | hri:ImagingSessionProtocol | An ImagingSessionProtocol describes a protocol used for creating the imaging sessions in this dataset. An imaging session is defined as an event which clinically would result in one report. An imaging session consists of one or more scans. | sio:SIO_000999 |  |  |  | SIO.SIO_000999
CTImagingSessionProtocol | hri:CTImagingSessionProtocol | An ImagingSessionProtocol for CT imaging. | sio:SIO_000999 | hri:ImagingSessionProtocol |  |  | SIO.SIO_000999
MRImagingSessionProtocol | hri:MRImagingSessionProtocol | An ImagingSessionProtocol for MR imaging. | sio:SIO_000999 | hri:ImagingSessionProtocol |  |  | SIO.SIO_000999
PETImagingSessionProtocol | hri:PETImagingSessionProtocol | An ImagingSessionProtocol for PET imaging. | sio:SIO_000999 | hri:ImagingSessionProtocol |  |  | SIO.SIO_000999
ScanProtocol | hri:ScanProtocol | ScanProtocol describes the protocol used for one or multiple acquisitions (slices) using the same parameters on a patient, as part of an imaging session. | sio:SIO_000999 |  |  |  | SIO.SIO_000999
CTScanProtocol | hri:CTScanProtocol | An ScanProtocol for CT imaging. | sio:SIO_000999 | hri:ScanProtocol |  |  | SIO.SIO_000999
MRScanProtocol | hri:CTScanProtocol | An ScanProtocol for MR imaging. | sio:SIO_000999 | hri:ScanProtocol |  |  | SIO.SIO_000999
CTScanProtocol | hri:CTScanProtocol | An ScanProtocol for PET imaging. | sio:SIO_000999 | hri:ScanProtocol |  |  | SIO.SIO_000999
PeriodOfTime | hri:PeriodOfTime |  | dct:PeriodOfTime |  |  | https://www.w3.org/TR/vocab-dcat-3/#Class:Period_of_Time | DCTERMS.PeriodOfTime
QuantitativeValue | hri:QuantitativeValue |  | schema:QuantitativeValue |  |  |  | SCHEMA.QuantitativeValue

## Imaging Dataset
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
hasImageModality | The set of modalities for the images in the dataset, i.e., the type(s) of device, process or method that originally acquired or produced the data. | eucaim:hasImageModality |  | The controlled vocabulary is defined by the subclasses of the range 'eucaim:ImagingModality' (eucaim:IMG1000009). This metadata field can be populated based on DICOM tag Modality (0008,0060) after mapping. | Mandatory | eucaim:ImagingModality (IRI) | 1..n
hasEquipmentManufacturer | Manufacturer of the imaging device. | eucaim:hasEquipmentManufacturer |  | The controlled vocabulary is defined by the subclasses of the range 'eucaim:Manufacturer'' (eucaim:IMG1000010). DICOM tag Manufacturer (0008,0070) contains values in free text which have to be mapped first. | Mandatory | eucaim:Manufacturer (IRI) | 1..n
hasImageBodyPart | Anatomical areas captured in the images. See DICOM tag (0018, 0015) Body Part Examined. | eucaim:hasImageBodyPart |  | The controlled vocabulary is defined by the subclasses of the range 'eucaim:Body Structure'' (eucaim:BP1000024). DICOM tag Body Part Examined (0018,0015) contains values in free text or mapped to SNOMED-CT, which both would have to be mapped to the EUCAIM hyperontology. | Mandatory | eucaim:BodyStructure (IRI) | 1..n
hasImagingSessionProtocols | ImagingSessionProtocol objects that describe the imaging data in the dataset. | hri:hasImageSessionProtocols |  |  | Recommended | hri:ImagingSessionProtocol | 0..n

## ImagingSessionProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
hasImageModality | The set of modalities for the images in the dataset, i.e., the type(s) of device, process or method that originally acquired or produced the data. | eucaim:hasImageModality |  | The controlled vocabulary is defined by the subclasses of the range 'eucaim:ImagingModality' (eucaim:IMG1000009). This metadata field can be populated based on DICOM tag Modality (0008,0060) after mapping. | Mandatory | eucaim:ImagingModality (IRI) | 1
count | The number of imaging sessions according to this described protocol in the dataset. |  |  |  | Mandatory | xsd:nonNegativeInteger | 1
description | Free-text description of the imaging session protocol. | dct:description |  |  | Mandatory | rdfs:Literal | 1..n
hasScanProtocol | The ScanProtocol objects that describe the scans that make up the imaging session. |  |  |  | Mandatory | hri:ScanProtocol | 1..n
hasEquipmentManufacturer | Manufacturer of the imaging device. | eucaim:hasEquipmentManufacturer |  | The controlled vocabulary is defined by the subclasses of the range 'eucaim:Manufacturer'' (eucaim:IMG1000010). DICOM tag Manufacturer (0008,0070) contains values in free text which have to be mapped first. | Recommended | eucaim:Manufacturer (IRI) | 0..n
temporal | Period of time in which the imaging sessions were created. | dct:temporal |  |  | Recommended | dct:PeriodOfTime | 0..1
anonymizationMethod | A description of the method(s) used to de-identify the imaging data. |  |  |  | Recommended | rdfs:Literal | 0..n
patientPosition | The position of the patient relative to the imaging equipment space. See DICOM tag (0018, 5100) Patient Position. |  |  | Vocabulary to be determined; for example https://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.7.3.html#sect_C.7.3.1.1.2 | Recommended |  | 0..n
purposeOfScan | The original purpose for which the imaging session took place. |  |  | Vocabulary to be determined; for example: diagnostic, repeat/follow-up/monitoring, radiotherapy planning, intra-interventional, etc.. | Recommended |  | 0..n

## CTImagingSessionProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
CtScannerType | Type of of CT scanner used for this imaging session. |  |  | Vocabulary to be determined; for example: Multislice-CT, Cone-beam CT, PhotonCounting CT, Weight-bearing CT, other, unknown | Mandatory |  | 1..n

## MRImagingSessionProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
FieldStrength | Magnetic field strength of the MRI machine, in Tesla. |  |  |  | Mandatory | xsd:double | 1..n
coil | Type of coil used in the MRI machine. |  |  | Vocabulary to be determined, for example: Coil geometry: https://radlex.org/RID/RID10644 | Recommended |  | 0..n

## PETImagingSessionProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
radiopharmaceutical | The positron-emitting radiopharmaceutical used for the PET-scan, see DICOM tag (0018,0031) Radiopharmaceutical. |  |  | Vocabulary to be determined, for example: https://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_4020.html or Radiopharmaceutical: https://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_4021.html | Mandatory |  | 1

## ScanProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
hasImageBodyPart | Anatomical areas captured in the images. See DICOM tag (0018, 0015) Body Part Examined. | eucaim:hasImageBodyPart |  | The controlled vocabulary is defined by the subclasses of the range 'eucaim:Body Structure'' (eucaim:BP1000024). DICOM tag Body Part Examined (0018,0015) contains values in free text or mapped to SNOMED-CT, which both would have to be mapped to the EUCAIM hyperontology. | Mandatory | eucaim:BodyStructure (IRI) | 1..n
contrastAgentUsed | Boolean to signify if a contrast agent has been used. |  |  |  | Mandatory | xsd:boolean | 1
description | Free-text description of the scan protocol. | dct:description |  |  | Recommended | rdfs:Literal | 0..1
contrastAgentName | Name of the contrast agent that has been used. See DICOM tag (0018, 1010) Contrast/Bolus Agent. |  |  | Vocabulary to be determined, for example: http://purl.obolibrary.org/obo/NCIT_C69294 or https://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_12.html | Recommended |  | 0..1
inPlaneResolutionRowsRange | Minimum and maximum value of the physical distance in the patient between the center of each pixel in millimeters in the rows direction, per slice. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
inPlaneResolutionColsRange | Minimum and maximum value of the physical distance in the patient between the center of each pixel in millimeters in the columns direction, per slice. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
numRowsRange | Minimum and maximum value of the size of the number of rows in the images in the scans. See DICOM tags (0028, 0010) Rows. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
numColsRange | Minimum and maximum value of the number of columns in the images in the scans. See DICOM tags (0028,0011) Columns. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
numSlicesRange | Minimum and maximum value of the number of slices in the scans. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
voxelSizeXRange | Minimum and maximum value of the pixels or voxels in the X-dimension in millimeters. See DICOM tags (0018, 0050) Slice Thickness and (0028, 0030) Pixel Spacing. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
voxelSizeYRange | Minimum and maximum value of the pixels or voxels in the Y-dimension in millimeters. See DICOM tags (0018, 0050) Slice Thickness and (0028, 0030) Pixel Spacing. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
voxelSizeZRange | Minimum and maximum value of the pixels or voxels in the Z-dimension in millimeters. See DICOM tags (0018, 0050) Slice Thickness and (0028, 0030) Pixel Spacing. |  |  |  | Recommended | schema:QuantitativeValue | 0..1

## CTScanProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
CTSequence | CT scanning sequence used as part of this scan protocol. |  |  | Vocabulary to be determined, for example: Localizer, dynamic, normal, angiography, perfusion, etc. | Mandatory |  | 1
reconstructionKernel | Reconstruction kernel used as part of this scan protocol. |  |  |  | Mandatory |  | 1..n
tubeVoltageRange | Minimum and maximum value of the tube voltage in kiloVolt. |  |  |  | Recommended | schema:QuantitativeValue | 0..1
doseRange | Minimum and maximum value of the radiation dose in milliSievert. |  |  |  | Recommended | schema:QuantitativeValue | 0..1

## MRScanProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
MRISequence | MR contrast sequence used as part of this scan protocol. |  |  | Vocabulary to be determined, for example: Functional, structural, perfusion, diffusion, etc. or T1-weighted, T2-weighted, FLAIR etc. | Mandatory |  | 1
sliceThicknessRange | Minimum and maximum value of the slice thickness in millimeters. See DICOM tag (0018, 0050) Slice Thickness |  |  |  | Recommended | schema:QuantitativeValue | 0..1
interSliceDistanceRange | Minimum and maximum value of the inter-slice distance in millimeters. See DICOM tag (0018, 0088) Spacing Between Slices |  |  |  | Recommended | schema:QuantitativeValue | 0..1

## PETScanProtocol
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
radiopharmaceuticalVolumeRange | The minimum and maximum volume of the administered radiopharmaceutical in cubic cm. See DICOM tag (0018, 1071) Radiopharmaceutical Volume |  |  |  | Recommended | schema:QuantitativeValue | 0..1
radionuclideTotalDoseRange | The minimum and maximum of the radiopharmaceutical dose administered to the patient measured in MegaBecquerels (MBq) at the Radiopharmaceutical Start DateTime (0018,1078). See DICOM tag (0018,1074) Radionuclide Total Dose. |  |  |  | Recommended | schema:QuantitativeValue | 0..1

## PeriodOfTime
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
end date | The end of the period. | dcat:endDate | NA |  | Recommended | xsd:dateTime | 0..1 | new | DCAT-AP v3 |  |  | dash:LiteralViewer | dash:DateTimePickerEditor |  | ^\d{4}-\d{2}-\d{2}T\d{2}:\d{2}:\d{2}(\.\d+)?(Z¦[+-]\d{2}:\d{2})$ |  | DCAT.startDate | rdfs_literal | LiteralField
start date | The start of the period. | dcat:startDate | NA |  | Recommended | xsd:dateTime | 0..1 | new | DCAT-AP v3 |  |  | dash:LiteralViewer | dash:DateTimePickerEditor |  | ^\d{4}-\d{2}-\d{2}T\d{2}:\d{2}:\d{2}(\.\d+)?(Z¦[+-]\d{2}:\d{2})$ |  | DCAT.endDate | rdfs_literal | LiteralField

## QuantitativeValue
Property label | Definition | Property URI | Controlled vocabluary (if applicable) | Usage note | Requirement level | Range | Cardinality | Source of constraint | Value | SHACL_dash:viewer | SHACL_dash:editor | SHACL_sh:node | SHACL_sh:uniqueLang | SHACL_pattern | SHACL_default_value | SeMPyRO_rdf_term | SeMPyRO_rdf_type | SeMPyRO_range
maxValue | The upper value of some characteristic or property. | schema:maxValue |  |  | Mandatory | xsd:double | 1
minValue | The lower value of some characteristic or property. | schema:minValue |  |  | Mandatory | xsd:double | 1

## CatalogueRecord (hidden)
Property label | Definition | Property URI | Value / Controlled Vocabulary | Usage note | Requirement level | Range | Cardinality | History (same as v1, changed from v1, new) | Source of constraint (HealthDCAT-AP, DCAT-AP NL)
application profile | An Application Profile that the Dataset's metadata conforms to. | dct:conformsTo | NA |  |  | dct:Standard | 0..1 | new | DCAT-AP v3
change type | The status of the catalogue record in the context of editorial flow of the dataset and data service descriptions. | adms:status | NA |  |  | skos:Concept | 0..1 | new | DCAT-AP v3
description | A free-text account of the record. This property can be repeated for parallel language versions of the description. | dct:description | NA |  |  | rdfs:Literal | 0..n | new | DCAT-AP v3
language | A language used in the textual metadata describing titles, descriptions, etc. of the Dataset. | dct:language | NA | This property can be repeated if the metadata is provided in multiple languages. |  | dct:LinguisticSystem | 1..n | new | DCAT-AP NL
listing date | The date on which the description of the Dataset was included in the Catalogue. | dct:issued | NA |  |  | xsd:dateTime | 0..1 | new | DCAT-AP v3
modification date | The most recent date on which the Catalogue entry was changed or modified. | dct:modified | NA |  |  | xsd:dateTime | 1 | new | DCAT-AP v3
primary topic | A link to the Dataset, Data service or Catalog described in the record. | foaf:primaryTopic | NA | A catalogue record will refer to one entity in a catalogue. This can be either a Dataset or a Data Service. To ensure an unambigous reading of the cardinality the range is set to Catalogued Resource. However it is not the intend with this range to require the explicit use of the class Catalogued Record. As abstract class, an subclass should be used. |  | dcat:Resource | 1 | new | DCAT-AP v3
source metadata | The original metadata that was used in creating metadata for the Dataset. | dct:source | NA |  |  | dcat:CatalogRecord | 0..1 | new | DCAT-AP v3
title | A name given to the Catalogue Record. | dct:title | NA | This property can be repeated for parallel language versions of the name. |  | rdfs:Literal | 0..n | new | DCAT-AP v3